01-17-2024

**UMC/UPC/IMC/UFGC**

2024 NNICC Amendment **2nd** Meeting Minutes:

1. **Meeting agenda and amendment proposals passed out and provided by Christen Pratt.**
2. **Introductions and attendance conducted by Christen Pratt our Committee Chair.**

Members present: All members of the committee were present, either in person or via virtual meeting link.

Reviewed and discussed existing amendments that are being carried over from previous 2018 Amendments as noted below for each code the committee is responsible for.

1. **International Fuel Gas Code: All existing IFGC amendments to be carried over were reviewed. Items listed below were to be reviewed and modified for next meeting.**

Item 1: 405.6.2.1, Discussed changing the language. Removed “Shut off valve” from added text.

Item 2: 406.4.1, Discussion on changing the language of the section. Doug and Robbie to rewrite and bring forward to next meeting for discussion and possible vote.

Item 3: 406.6.2, Remove the City of Fernley from manometer requirement. Removed from added text.

1. **International Mechanical Code****: All existing IMC amendments to be carried over were reviewed. Items listed below were modified as discussed.**

Item 1: 401.2, Removed from amendments as no longer required based on 2024 Code.

Item 2: 603.2, Changed amended section back to ACCA Manual D, not S.

1. **Uniform Plumbing Code: All existing UPC amendments to be carried over were reviewed. Only items listed below were to be reviewed or modified for next meeting.**

Item 2: 1201.1, Minor correction - Removed strikethrough from “for natural gas”.

Item 3: 12.13.3, Research and discuss next meeting.

Item 4: 12.13.5.1.1, Remove the City of Fernley from manometer requirement. Removed from added text.

Item 5: 712.1, 723.1 & 1107.2, Questions raised about test methods allowing plastic pipe to be tested by air.

Item 6: Chapter 14, Add text Refer to 2024 International Building Code.

1. **Uniform Plumbing Code: The following new proposals were discussed and voted on.**

Item 1: 207, Expansion tanks. Discussed and voted on. Amendment did not pass. 0 yes and 5 no.

Item 2: 408.4.2, Discussion and vote. Amendment did not pass by a vote of 0 yes and 5 no.

Item 3: 409.4, Discussion and vote. Amendment did not pass by a vote of 1 yes and 4 no.

Item 4: 608.3, Discussion and vote: Amendment approved by a vote of 5 yes to 0 no.

Item 5: 608.5 (7 and 8): Discussion, changes and vote. Amendment approved by vote of 5 yes and 0 no.

1. **Discussion on future meeting date. No review or discussion done on Uniform Mechanical Code. Existing to carry over and new proposals for UMC will be reviewed and voted on at next meeting.**
2. **2 pm meeting was adjourned.**

Daniel J. Birkel