**Steering Committee Meeting Agenda – 04/03/2024**

**1 E 1st St, Reno NV, 89505 – City Hall, 6th Floor Large Conference Room**

1. Roll Call - 1:30 p.m.
	1. Present: Bob Flores, Mark Meranda, Charity Birkel, Marie Henson, Jeff Ford, Scott Huntley, Tim Davis (at 1:35 p.m.), Candace Stowell, Shawn Keating, James Wentworth, Rosa Landis
2. Consent Items (For Consideration):
	1. Presentation of information regarding committee closures due to process completion. NEC will be taking a little bit longer to get some more justifications for amendments. IBC, IEBC, IFGC, IMC, UPC, UMC are all complete. Will need to present to BANN, AGC, and other community stakeholders by the end of the fiscal year. Draft form of Northern Nevada Amendments to come in June. IRC and IECC have still not been published.
	2. 2024 Carryover Amendments
		1. IBC
			1. Section 202 High Rise Buildings Definition
			2. Section 305.2 Group E Day Care Facilities
			3. Section 308.2 Institutional Group I-1
			4. Section 308.5 Institutional Group I-4
			5. Section 310.2 Residential Group R-1
			6. Section 311.2 Moderate-Hazard Storage Group S-1
			7. Section 403.5.4 Smokeproof Enclosures
			8. Section 906 Portable Fire Extinguishers
			9. Section 910.2 Where required (Smoke and Heat Removal)
			10. Section 1210.3.3 Baby Changing Tables
			11. Section 1503.6 Snow Shedding and Impact Areas
			12. Section 1608.2.1 Ground Snow Loads
				1. A request to add a footnote to table for Churchill and Elko city.
			13. Section 1609.1.1 Determination of Wind Loads
			14. Section 1609.1.1.1 Applicability
			15. Section 1609.3 Basic Wind Speeds
			16. Section 1704.2 Special Inspections and Tests
			17. Section 1803.2 Investigations Required
			18. Section 1803.6 Reporting
			19. Section 1808.6.1 Foundations
			20. Section 1809.5 Frost Protection
			21. Section 2901.1 Scope
			22. Section 3102.7 Engineering Design
			23. Section I105.2 Footings
		2. IEBC
			1. Section 301 High Rise Buildings
			2. Section 301.6 Baby Changing tables
		3. IFGC
			1. Section 301.1.2 LP-Gas Installations
			2. Section 301.16 Snow Hazard
			3. Section 406.4.1 Test Pressure
			4. Section 406.4.2 Test Duration
			5. Section 406.6.2 Before Turning Gas On through 406.2.3
				1. A request to add, “Shall only apply to City of Sparks, City of Reno, and Washoe County jurisdictions,” was made
		4. IMC
			1. Section 505.4 Makeup air required
			2. Section 508.1.4 Evaporative Cooling Systems Used as Makeup Air
			3. Section 603.2 Duct Sizing
		5. UPC
			1. Chapter 14 Firestop Protection
			2. Section 216 Definitions
			3. Section 218 Definition Penetration Firestop System
			4. Section 222.0 Definitions of “T” Rating
			5. Section 312.7 Fire-Resistant Construction
			6. Section 422.0 Minimum Number of Required Fixtures
			7. Section 609.1 Installation
			8. Section 712.1 Media
			9. Section 717.1 General (Size of Building Sewers)
			10. Section 723.1 General (Building Sewer Test)
			11. Section 1107.2 Methods of Testing Storm Drainage Systems
			12. Section 1201.1 Applicability
			13. Section 1208.6.1.3 Snow Hazard
			14. Section 1213.3 Test Pressure
			15. Section 1213.5.1 Turning Gas On
		6. UMC
			1. Section 304.3 Access to Appliances on Roofs
			2. Section 403.7.2 Enclosed Parking Garages
			3. Section 504.4.2.1 Length Limitation
			4. Section 505.10 Makeup Air
			5. Section 508.3.5.4 Evaporative Cooling Systems Used as Make Up Air Systems
			6. Section 511.2.2.2 Capture and Containment Test
			7. Section 605.1 General
			8. Section 609.1 Air-Moving Systems and Smoke Detectors
			9. Section 610.0 Performance Test for Automatic Shutoffs
			10. Section 939.0 Sauna Heaters
			11. Section 1301.1 Applicability
			12. Section 1313.3 Test Pressure
			13. Section 1313.5.1 Turning Gas On
		7. NEC
			1. Article 210.52(A)(2) Wall Space
			2. Article 225.31(B) Locations
			3. Article 240.51(B) Replacement Only
			4. Article 250.120 Equipment grounding conductor installation
			5. Article 358.12 Uses Not Permitted
3. New Items (For Consideration):
	1. New Code Amendments
		1. IBC
			1. Section 2902.1 Required Plumbing Table
			2. Section 2902.2 Separate Facilities
		2. UPC
			1. Section 608.3 Expansion Tanks, and Combination Temperature and Pressure Relief Valves
			2. Section 608.5 Discharge Piping
		3. NEC
			1. Article 358.10(A) Uses Permitted
			2. Article 690.7(D) Marking DC PV Circuits
4. Next meeting on 5/1/2024 – Must attend to vote
5. Items to consider for next meeting
6. Discussion
	1. A discussion regarding proposed amendments for IRC sprinkler requirements was held and City of Reno will be adopting an amendment separately.
	2. Regarding Table R301.2(1), jurisdictions to complete a form sent out by Spencer Schultz for completion of Manual J design criteria section present in the 2018 NN Amendments.
	3. Marie Henson is retiring from Churchill County. Jera Pierson will be taking her spot on the Steering Committee.
	4. A request to send the Steering Committee Agenda and Items to Jess Phillips was made and approved.
7. Meeting Adjournment at 2:33 p.m.